## Slide 1
12. Optimal Estimation: Advanced Topics
Dr. David R. Thompson
Jet Propulsion Laboratory, Imaging Spectroscopy Group

## Slide 2
Goals for this module
Demonstrate a closed error budget with posterior predictions
Apply and interpret the Degrees of Freedom (DOF) in a measurement
Decompose posterior error predictions into resolution and noise components
Interpret averaging kernels, gain and Jacobian matrices

## Slide 3: Case study [Thompson et al., Remote Sensing of Environment 218, 2018]
I
N
1000 m
V
VI
N
100 m
IV
II
III
N
100 m
In-situ AOD via Reagan sunphotometers
In-situ surface reflectance via ASD Fieldspec
Ivanpah Playa
California Institute of Technology
Jet Propulsion Laboratory
Notes: We measured 6 sites at Ivanpah, JPL, and Caltech.

## Slide 4: Total uncertainty budget

## Slide 5: Demonstrating closed uncertainty budgets: Posterior uncertainty compared to actual discrepancies [Thompson et al., Remote Sensing of Environment 216, 2018]
Wavelength (nm)
Remote retrieval: heuristic initialization
Remote retrieval: converged solution
Notes: Posterior uncertainty predictions (grey envelopes) accurately predict and capture our actual discrepancies!
This demonstrates a closed account of the uncertainty in the system. To our knowledge, this is the first time it has been done for VSWIR imaging spectroscopy.
Note: we also account for the uncertainty in the surface measurement, which is a significant contributor to the confidence bands.

## Slide 6: Uncertainty predictions fully explain discrepancies
Wavelength (nm)
[Thompson et al., Remote Sensing of Environment 216, 2018]

## Slide 7: Characterization
The Gain Matrix: retrieval sensitivity to a change in
The Averaging Kernel Matrix: retrieval sensitivity to a change in the true state vector
The diagonal shows the Degrees of Freedom (DOF) for the retrieved value.

## Slide 8: “Averaging Kernels”
Rows of the A matrix show sensitivity of the retrieval to different elements of the true state
The H2O estimate transparently leverages information across the VSWIR spectrum (though mostly in the strong absorption features)
[Thompson et al., Remote Sensing of Environment 216, 2018]

## Slide 9: Degrees Of Freedom (DOF)
Total DOF at solution for each spectrum:
DOF per channel:
[Thompson et al., Remote Sensing of Environment 216, 2018]

## Slide 10: Posterior Error decomposition
Uncertainty due to observation noise
Uncertainty due to resolution of the retrieval
[Thompson et al., Remote Sensing of Environment 216, 2018]

## Slide 11: Sample-based posterior estimation
Computationally more challenging but captures the full posterior Linearized estimates work well for reflectance terms
[Thompson et al., Remote Sensing of Environment 231, 2019]