## Slide 1
12. Optimal Estimation: Advanced Topics
Dr. David R. Thompson
Jet Propulsion Laboratory, Imaging Spectroscopy Group
July 20, 2019

## Slide 2
Goals for this module
Demonstrate a closed error budget with posterior predictions
Apply and interpret the Degrees of Freedom (DOF) in a measurement
Decompose posterior error predictions into resolution and noise components
Interpret averaging kernels, gain and jacobian matrices to improve your estimates

## Slide 3: Case study [Thompson et al., Remote Sensing of Environment 218, 2018]
I
N
1000 m
V
VI
N
100 m
IV
II
III
N
100 m
In-situ AOD via Reagan sunphotometers
In-situ surface reflectance via ASD Fieldspec
Ivanpah Playa
California Institute of Technology
Jet Propulsion Laboratory
Notes: We measured 6 sites at Ivanpah, JPL, and Caltech.

## Slide 4: Total uncertainty budget

## Slide 5: Demonstrating closed uncertainty budgets: Posterior uncertainty compared to actual discrepancies [Thompson et al., Remote Sensing of Environment 216, 2018]
Wavelength (nm)
Remote retrieval: heuristic initialization
Remote retrieval: converged solution
Notes: Posterior uncertainty predictions (grey envelopes) accurately predict and capture our actual discrepancies!
This demonstrates a closed account of the uncertainty in the system. To our knowledge, this is the first time it has been done for VSWIR imaging spectroscopy.
Note: we also account for the uncertainty in the surface measurement, which is a significant contributor to the confidence bands.

## Slide 6: Uncertainty predictions fully explain discrepancies
Wavelength (nm)
[Thompson et al., Remote Sensing of Environment 216, 2018]

## Slide 7: Characterization
The Gain Matrix: retrieval sensitivity to a change in
The Averaging Kernel Matrix: retrieval sensitivity to a change in the true state vector
The diagonal shows the Degrees of Freedom (DOF) for the retrieved value.

## Slide 8: “Averaging Kernels”
Rows of the A matrix show sensitivity of the retrieval to different elements of the true state
E.G. The H2O estimate transparently leverages information across the VSWIR spectrum (though mostly in the strong absorption features)
[Thompson et al., Remote Sensing of Environment 216, 2018]

## Slide 9: Degrees Of Freedom (DOF)
Total DOF at solution for each spectrum:
DOF per channel:
[Thompson et al., Remote Sensing of Environment 216, 2018]

## Slide 10: Posterior Error decomposition
Uncertainty due to observation noise
Uncertainty due to resolution of the retrieval
[Thompson et al., Remote Sensing of Environment 216, 2018]

## Slide 11: Sample-based posterior estimation
Computationally more challenging but captures the full posterior Linearized estimates work well for reflectance terms
[Thompson et al., Remote Sensing of Environment 231, 2019]