## Slide 1
1. Introduction to Imaging Spectroscopy
Dr. David R. Thompson
Jet Propulsion Laboratory, Imaging Spectroscopy Group

## Slide 2
Goals for this module
Interpret imaging spectrometer measurements
Understand the difference between radiance and reflectance
Understand differences between spectroscopic and image domain analyses

## Slide 3: Dramatis Persone
Wavelength (nm)
Solar Radiance
Thermal Emission

## Slide 4: Measurement process – 100s of parallel spectrometers
Spectrometer
Telescope
Detector Array
Slit

## Slide 5: From radiance to surface reflectance
Instrument
Atmosphere
Surface
Absorption
Scattering
Reflection

## Slide 6: Deep water vapor absorption features
Features near 1380 nm and 1880 nm, and beyond 2500 nm, are nearly opaque due to strong water vapor absorption.
This results in a noisy reflectance estimate.
Exclude these intervals from your calculations!
Shallow vapor absorption features (correctable)
Deep vapor absorption features (no signal!)

## Slide 7: Reflectance Spectrum: Snow
Snow grain size (microns)
Niklas Bohn et al., in preparation
Ice grain size (microns)
Zacharie Grossen - Camptocamp.org

## Slide 8: Reflectance Spectrum: Water
Increasing Phytoplankton
Increasing Colored Dissolved Organic Matter
Image: Tiago Fioreze

## Slide 9: Reflectance Spectrum: Vegetation
Increasing Soil Fraction
Increasing Nonphotosynthetic Vegetation
Credit: I,Bms4880, Roaring Fork, Great Smoky Mountains (Wikipedia)
Spectra from USGS spectral library version 7.0

## Slide 10: Example: Geologic Mapping via absorption fits
Mineral absorption
Surface Reflectance
(Salton Sea, CA)

## Slide 11: Salton Sea, CA (AVIRIS instrument)
Courtesy NASA/JPL/Roger Clark

## Slide 12
Salton Sea
Mineral Map
50km
Courtesy NASA / JPL / USGS / R. Clark
Courtesy NASA/JPL/Roger Clark
Salton Sea, CA (AVIRIS instrument)

## Slide 13: Imaging spectroscopy vs. multiband analysis
Multiband |  | Imaging Spectroscopy
Typically built with optical filters |  | Uses dispersive elements (e.g. gratings)
1-10s of bands |  | 100s of channels
Image-space (morphological) analyses |  | Spectroscopy using each pixel independently
Band math, thresholds, trees |  | Feature fitting and shape matching
Often mathematically underdetermined |  | Often mathematically overdetermined
Analyses are often qualitative |  | Quantitative measurement with uncertainties
Empirical modeling |  | Empirical or physics-based modeling
Images courtesy Robert O. Green, JPL

## Slide 14: AVIRIS Classic (JPL, 1986)
airbornescience.nasa.gov

## Slide 15: Recent instruments
PRISM 2012
UCIS 2013
AVIRIS-NG 2012
ESWIRS 2014
CWIS 2015

## Slide 16: Earth Mineral dust source InvesTigation (EMIT)
Image: NASA / JPL

## Slide 17
Upcoming orbital Investigations
Global VSWIR
Targeted VSWIR
Targeted VNIR
2000 2005 2010 2015 2020 2025 2030
Hyperion (NASA Pathfinder)
CHRIS/PROBA (ESA)
HICO (ONR/NASA)
DESIS (DRL)
EMIT (NASA)
Recommended Decadal Survey Investigation: SBG (NASA)
PRISMA (ISA)
AHSI (China)
HISUI (Japan, METI)
ENMAP (DRL)

## Slide 19: Exercise 1: Scavenger hunt
N
100 m
You have a data cube of reflectances acquired by the AVIRIS-NG instrument over the California Institute of Technology. Find the following spectra in the scene… what material(s) does each represent?

## Slide 20: Targets

## Slide 21: Targets